## Detailed
COCHIN PORT TRUST
DETAILED ESTIMATE
Name of work: CONSTRUCTION OF GATE OFFICE AT PUTHUVYPEEN FOR CISF
Sl.No. | Details of work | No. | Measurement in metre |  |  | Area or Content | Total Quantity of each description of work |  | Total qty of G.F, F.F SF
|  |  | Length | Breadth | Depth
PART A - INSTALLATION OF BORED CAST-IN-SITU PILES
1 | Boring through all strata for installing 400 mm dia bored cast-in-situ piles upto -17m | 18 |  |  | 17 | 306 | 306 | m
2 | Provinding RCC M40 grade inside the pile bore | 18 | 0.1256 | m2 | 17 | 38.4336 |  |  |  |  | 0.1256
| bulb-3.14x0.7x0.7/4= 0.385-0.13 | 18 | 0.26 | m2 | 0.6 | 2.808 |  |  |  |  | 0.255
| Total |  |  |  |  | 41.2416 | 42 | m3
3 | Providing reinforcement in cages inside pile bore @ 150 kg/m3 |  | 42 |  | 0.15 | 6.3
| Add 3% extra |  |  |  |  | 0.189
| Total |  |  |  |  | 6.489 | 6.5 | T
4 | Chipping the concrete from the top of piles up to cut off level | 18 | 0.13 | m2 | 1 | 2.34 | 2.4 | m3
5 | Earthwork excavation for grade
Office Building
| Pile caps | 18 | 1 | 1 | 0.88 | 15.84
| Long beams 13.90-6x 0.80 | 3 | 9.1 | 0.5 | 0.58 | 7.917 |  |  |  | 9.1
| Short beam 7- 3x0.8 | 6 | 4.6 | 0.5 | 0.58 | 8.004 |  |  |  | 4.6
| Verandah inside wall-13.70 -0.50 | 1 | 13.2 | 0.5 | 0.58 | 3.828 |  |  |  | 13.2
| Step | 1 | 13.9 | 0.75 | 0.15 | 1.5637
37.1527
Gate
| Pillar foundation | 2 | 4.26 | 2 | 1.28 | 21.8112 |  |  |  | 4.26
| Total |  |  |  |  | 58.9639 | 59 | m3
6 | Providing PCC 1:4:8, below pile cap and grade beam
Office Building
| a. Pile cap | 18 | 1 | 1 | 0.08 | 1.44
| Long beam | 3 | 9.1 | 0.5 | 0.08 | 1.092
| Short beam | 6 | 4.6 | 0.5 | 0.08 | 1.104
| Verandah inside wall-13.70 -0.50 | 1 | 13.2 | 0.5 | 0.08 | 0.528
| Step | 1 | 13.9 | 0.75 | 0.15 | 1.5637
5.7278
| deduct-pile | 18 | 0.4 | 0.4 | 0.08 | 0.2304
5.4973
Gate
| gate Pillar fdn | 2 | 4.26 | 2 | 0.08 | 1.3632
| Total |  |  |  |  | 6.8605 | 6.9 | m3
7 | Providing RCC M30 for pile cap and fdn beam
Office Building
| a. Pile cap | 18 | 0.8 | 0.8 | 0.8 | 9.216
| Long beams 13.90-6x 0.80 | 3 | 9.1 | 0.3 | 0.5 | 4.095
| Short beam 7- 3x0.8 | 6 | 4.6 | 0.3 | 0.5 | 4.14
| Verandah inside wall-13.70 -0.50 | 1 | 13.2 | 0.3 | 0.5 | 1.98
19.431
Gate
| Pillar fdn | 2 | 4.1 | 1.8 | 0.3 | 4.428
| Pillar footing | 2 | 4.1 | 0.8 | 0.9 | 5.904
10.332
| Total |  |  |  |  | 29.763 | 30 | m3
8 | Providing reinforcement in pile cap fdn beam etc@ 200 kg/m3 |  | 30 |  | 0.2 | 6
| Add 3% extra |  |  |  |  | 0.18
[6 empty] | 6.18 | 6.2 | T
9 | Block Masonry for basement
Office Building
| Long wall=13.9-6x.25 | 3 | 12.4 | 0.3 | 0.45 | 5.022 |  |  |  | 12.4
| Short wall=7-3x.25 | 6 | 6.25 | 0.3 | 0.45 | 5.0625 |  |  |  | 6.25
| Verandah inside wall-13.70 -.50.50 | 1 | 13.2 | 0.3 | 0.45 | 1.782
| step | 1 | 13.9 | 0.6 | 0.15 | 1.251
| cross wall store | 2 | 1.5 | 0.3 | 0.45 | 0.405
| Toilet | 1 | 2.4 | 0.3 | 0.45 | 0.324
| Total |  |  |  |  | 13.8465 | 13.9 | m3
10 | Basement filling
Office Building
| Security office | 1 | 3 | 5.1 | 0.35 | 5.355
| store | 1 | 1.5 | 2 | 0.35 | 1.05
| near store | 1 | 1.5 | 1.2 | 0.35 | 0.63 |  |  | 1.8
|  | 1 | 1.8 | 1.8 | 0.35 | 1.134
| Toilet | 1 | 2.4 | 1.5 | 0.35 | 1.26
| stair | 1 | 2.4 | 3.7 | 0.35 | 3.108
| Group-B | 1 | 6 | 5.1 | 0.35 | 10.71
| Verandah-13.9-2x0.3 | 1 | 13.3 | 1.2 | 0.35 | 5.586
| Total |  |  |  |  | 28.833 | 29 | m3
11 | Providing RCC M30grade column using 20mm metal
Office Building
a | Ground floor | 18 | 0.25 | 0.3 | 3.19 | 4.3065
b | first floor | 6 | 0.25 | 0.3 | 2.65 | 1.1925
5.499
Gate
| pillar-3.25+0.40 | 2 | 0.8 | 0.8 | 3.65 | 4.672
|  | 2 | 0.8 | 0.8 | 6.6 | 8.448
13.12
| Total |  |  |  |  | 18.619 | 18.65 | m3 | 22.3
12 | Shuttering for column- GF | [8 empty] | 1.1
Office Building
| GF | 18 | 1.1 | 3.19 |  | 63.162
| FF | 6 | 1.1 | 2.65 |  | 17.49
80.652
Gate
| Pillar-wicket | 2 | 3.2 | 3.65 |  | 23.36 |  |  | 3.2
| Pillar-main gate | 2 | 3.2 | 6.6 |  | 42.24
65.6
| Total |  |  |  |  | 146.252 | 146.3 | m2 | 138m2
13 | Providing RCC m30 grade for beam
Office Building
a | Ground floor top beams
| Long beam 13.9-6x0.25 | 3 | 12.4 | 0.25 | 0.29 | 2.697 |  |  |  | 0.29
| Short beam 7.00-3x0.30 | 6 | 6.1 | 0.25 | 0.29 | 2.6535
| Verandah | 1 | 13.3 | 0.25 | 0.29 | 0.96425
| Stairbeam (ground) | 1 | 1.2 | 0.25 | 0.3 | 0.09
| Top | 1 | 2.3 | 0.25 | 0.4 | 0.23
| landing beam | 1 | 2.3 | 0.25 | 0.4 | 0.23
6.8647
b | First floor top beams
| Long beam 7.00-3x0.30 | 2 | 6.1 | 0.25 | 0.25 | 0.7625
| Short beam 2.8-2x0.25 | 3 | 2.3 | 0.25 | 0.25 | 0.43125 |  |  |  | 2.3
1.1938
Gate
| For wicket gate | 2x2 | 3.1 | 0.25 | 0.25 | 0.775
| For main gate | 2 | 7.3 | 0.25 | 0.25 | 0.9125
1.6875
| Total |  |  |  |  | 9.746 | 9.8 | m3
14 | Proving shuttering for beams
Office Building
a | Ground floor top beams
| Long beam 13.9-6x0.25 | 3x2 | 12.4 |  | 0.29 | 21.576
| Short beam 7.00-3x0.30 | 6x2 | 6.1 |  | 0.29 | 21.228
| Verandah | 1x2 | 13.3 |  | 0.29 | 7.714
| Stairbeam (ground) | 2 | 1.2 |  | 0.3 | 0.72 |  |  |  | 59.26
|  | 1 | 1.2 |  | 0.25 | 0.3
| Top | 1x2 | 2.3 |  | 0.4 | 1.84
|  | 1 | 2.3 |  | 0.25 | 0.575
|  | 1x2 | 2.3 |  | 0.4 | 1.84
|  | 1 | 2.3 |  | 0.25 | 0.575
56.368
b | First floor top beams
| Long beam 7.00-3x0.30 | 2x2 | 6.1 |  | 0.25 | 6.1
| Short beam 2.8-2x0.25 | 4x2 | 2.3 |  | 0.25 | 4.6
10.7
Gate
| For wicket gate | 4x2 | 3.1 |  | 0.25 | 6.2
| For main gate | 2x2 | 7.3 |  | 0.25 | 7.3
13.5
| Total |  |  |  |  | 80.568 | 81 | m2
15 | Providing RCC M30 grade roof/ floor/ landing slab, 11cm thick
Office Building
| Roof slab | 1 | 14.5 | 7.3 | 0.11 | 11.6435 |  |  |  | 14.5 | 7.15
| Landing slab | 1 | 2.8 | 1.6 | 0.12 | 0.5376
|  | 1 | 2.5 | 1.2 | 0.11 | 0.33
| roof projection - sunshade-front | 1 | 13.9 | 0.9 | 0.11 | 1.3761
| side | 1 | 1.5 | 0.9 | 0.11 | 0.1485
14.0357
| Deduct stair area | 1 | 2.4 | 5.3 | 0.11 | 1.3992 |  |  |  | 3.7
| Less deduction |  |  |  |  | 12.6365
| First floor roof slab | 1 | 3.3 | 7.9 | 0.12 | 3.1284
Gate
| For wicket gate | 2 | 3.1 | 2 | 0.1 | 1.24
| For main gate | 1 | 7.3 | 2 | 0.1 | 1.46
2.7
| Total |  |  |  |  | 18.4649 | 18.5 | m3
16 | Shuttering slab
Office Building
| Roof slab | 1 | 14.5 | 7.3 |  | 105.85
| Landing slab | 1 | 2.8 | 1.6 |  | 4.48
|  | 1 | 2.5 | 1.2 |  | 3
| roof projection - varandah | 1 | 13.9 | 0.9 |  | 12.51
125.84
| Deduct stair area | 1 | 2.4 | 5.3 |  | 12.72
| column | 18 | 0.25 | 0.3 |  | 1.35
14.07
| Less deduction |  |  |  |  | 111.77
| First floor slab | 1 | 3.3 | 7.9 |  | 26.07
Gate
| For wicket gate | 2 | 3.1 | 2 |  | 12.4
| For main gate | 1 | 7.3 | 2 |  | 14.6
27
| Total |  |  |  |  | 164.84 | 165 | m2
17 | Providing RCC M30 grade for stair
a | Ground floor
| Staircase waist slab Sq rt 3.64 +2.31 | 1 | 4.31 | 1.2 | 0.15 | 0.7758
| 1.4+0.99 sqrt | 1 | 1.71 | 1.2 | 0.15 | 0.3078
| Steps 1/2 | 18 | 1.2 | 0.28 | 0.165 | 0.49896
| Total |  |  |  |  | 1.5826 | 1.6 | m3
18 | shuttering Stair
a | Ground floor4.31+1.71,1.2+0.30 | 1 | 6.02 | 1.5 |  | 9.03
| steps 2x1/2 sides | 18 | 0.28 | 0.16 |  | 0.8064
|  | 18 | 1.2 | 0.16 |  | 3.456
| Total |  |  |  |  | 13.2924 | 14 | m2
19 | Providing RCC M 30 grade for lintel
a | GF | 2 | 12.4 | 0.2 | 0.15 | 0.744
| 5.5-2x0.3 | 5 | 4.9 | 0.2 | 0.15 | 0.735
| store | 1 | 1.9 | 0.1 | 0.15 | 0.0285
[6 empty] | 1.5075 | 1.5 | m3
20 | Shuttering lintel
a | GF | 2x2 | 12.4 |  | 0.15 | 7.44
| 5.5-2x0.3 | 5x2 | 4.9 |  | 0.15 | 7.35
| store | 1x2 | 1.9 |  | 0.15 | 0.57
[6 empty] | 15.36 | 15.5 | m2
21 | Providg RCC M20 grade for drops
Office Building
| Verandah | 1 | 13.9 | 1 |  | 13.9
| side | 1 | 2.4 | 1 |  | 2.4 |  |  |  | 2.4
16.3
Gate
| For wicket gate | 2x2 | 3.1 | 0.4 |  | 4.96
| For main gate | 1x2 | 8.9 | 0.4 |  | 7.12 |  |  |  | 8.9
12.08
| Total |  |  |  |  | 28.38 | 28.5 | m2
22 | Sunshade- G.F
Office Building
| W2 | 7 | 1.85 | 0.6 | 0.08 | 0.6216 |  |  |  | 0.0875
| V | 1 | 4.1 | 0.6 | 0.08 | 0.1968
| Total |  |  |  |  | 0.8184 | 0.8 | m3 | 1.98
23 | Shuttering -G.F 0.8+0.08 (sides) | 2 | 30 |  |  | 60
| W2 | 7 | 2.01 | 0.76 |  | 10.6932 |  |  | 2.01 | 0.76
| V | 1 | 4.26 | 0.76 |  | 3.2376 |  |  | 4.26
[6 empty] | 73.9308 | 74 | m2
24 | Providing reinforcement with HYSD bars for RCC works listed above @ 200Kg/m3
| Columns @ 150 kg/m3 |  | 18.65 | Cu. M@ | 150 | 2.7975
| Beams @ 160 kg/m3 |  | 9.8 | Cu. M@ | 160 | 1.568
| Slab @ 100 kg/m3 |  | 18.5 | Cu. M@ | 100 | 1.85
| Stair @ 120 kg/m3 |  | 1.6 | Cu. M@ | 120 | 0.192
| Lintel@ 150 kg/m3 |  | 1.5 | Cu. M@ | 150 | 0.225
| Drop@ 120 kg/m3 |  | 1.425 | Cu. M@ | 100 | 0.1425
| Sunshades @ 100 kg/m3 |  | 0.8 | Cu. M@ | 100 | 0.08
| Total |  |  |  |  | 6.855
| Add 3% extra |  |  |  |  | 0.20565
| Total |  |  |  |  | 7.0606 | 7.1 | T
25 | Block Masonry for super structure
Office Building
Ground floor
| C/C allround | 1 | 38 | 0.2 | 2.9 | 22.04 |  |  | 38 | 2.9
| varandah projection | 1 | 1.2 | 0.2 | 2.9 | 0.696
| Long wall-stair | 2 | 5.1 | 0.2 | 2.9 | 5.916
| store | 1 | 2.2 | 0.2 | 2.9 | 1.276
| cross wall - store | 2 | 1.5 | 0.1 | 2.9 | 0.87
| toilet | 1 | 2.4 | 0.1 | 2.19 | 0.5256
31.3236
Deduction
| D1 | 2 | 1 | 0.2 | 2.4 | 0.96
| D2 | 1 | 0.9 | 0.2 | 2.4 | 0.432
| FD | 2 | 0.8 | 0.2 | 2.4 | 0.768
| W4 | 1 | 2.5 | 0.2 | 1.65 | 0.825
| W2 | 7 | 1.65 | 0.2 | 1.65 | 3.8115
| V | 2 | 1 | 0.2 | 0.6 | 0.24
| Stair opening | 1 | 2.4 | 0.2 | 2.9 | 1.392
| Lintel as per item 20 |  |  |  |  | 1.51
| Column | 12 | 0.25 | 0.3 | 2.9 | 2.61
| landing beam | 1 | 2.3 | 0.25 | 0.4 | 0.23
12.7785
| Less deduction |  |  |  |  | 18.5451
First floor
| C/C all round | 1 | 16.1 | 0.15 | 2.4 | 5.796 |  |  | 2.55 | 5.5 | 16.1
| Parapet varandah | 1 | 16.3 | 0.2 | 0.8 | 2.608 |  |  | 16.3
| Top | 2 | 4.6 | 0.1 | 0.65 | 0.598 |  |  | 4.6
|  | 2 | 8.8 | 0.1 | 0.65 | 1.144
10.146
Deduction
| D1 | 1 | 1 | 0.15 | 2.4 | 0.36
| W2 | 1 | 1.65 | 0.15 | 1.65 | 0.40837
| Lintel | 2 | 6.1 | 0.15 | 0.15 | 0.2745
|  | 2 | 2.4 | 0.15 | 0.15 | 0.108
1.1509
| Less deduction |  |  |  |  | 8.9951
| Total |  |  |  |  | 27.5402 | 27.3 | m3
26 | Providing C.C 1:4:8 with 40mm metal for bedding concrete for flooring
Ground floor
| Security office | 1 | 3 | 5.1 | 0.1 | 1.53
| store | 1 | 1.5 | 5.1 | 0.1 | 0.765
| stair | 1 | 2.4 | 5.1 | 0.1 | 1.224
| Group-B | 1 | 6 | 5.1 | 0.1 | 3.06
| Verandah-13.9-2x0.3 | 1 | 13.3 | 1.2 | 0.1 | 1.596
| Total |  |  |  |  | 8.175 | 8.2 | m3
27 | Providing floor finish with V,tiles over CM 1 : 3, 20mm thick, finished smooth and thread lined
a) | Ground floor-S.O | 1 | 5.1 | 3 |  | 15.3
| S.O | 1 | 2.9 | 1.7 |  | 4.93 |  |  | 3.1 | 2.9
| store | 1 | 1.5 | 2 |  | 3
| stair | 1 | 3.7 | 2.4 |  | 8.88 |  |  | 3.5
| Group-B | 1 | 5.1 | 6 |  | 30.6
| verandah | 1 | 13.7 | 1.5 |  | 20.55
| Door portion | 2 | 1 | 0.2 |  | 0.4
|  | 1 | 0.9 | 0.2 |  | 0.18
| D | 1 | 0.8 | 0.1 |  | 0.08
| Step- out side | 2 | 13.9 | 0.45 |  | 12.51
| sides | 2 | 0.9 | 0.15 |  | 0.27
|  | 2 | 0.3 | 0.15 |  | 0.09
| landing slab | 1 | 2.4 | 1.6 |  | 3.84
| stairsteps | 18 | 1.2 | 0.45 |  | 9.72
110.35
b | F F
|  | 1 | 2.4 | 1.2 |  | 2.88 |  |  | 2.24 | 2.39
|  | 1 | 2.4 | 1.35 |  | 3.24
6.12
| Total |  |  |  |  | 116.47 | 116.5 | m2 | 114
28 | Flooring toilet with antiskid tile
| Toilet | 1 | 2.4 | 1.5 |  | 3.6
|  | 1 | 0.8 | 0.1 |  | 0.08
| Total |  |  |  |  | 3.68 | 3.7 | m2 | 3.7m2
29 | Plastering walls with CM 1:4 12mm thick
Ground floor
| Outside wall all round [2x13.9+2x7=41.8] [(3.19-.29)+.45=3.35] | 1 | 41.8 |  | 3.35 | 140.03 |  |  | 41.8 | 3.35
| Varandah projection | 1 | 1.2 |  | 3.35 | 4.02
|  | 1 | 1.2 |  | 3.35 | 4.02
Inside wall
| Security office | 1 | 16.2 |  | 3.35 | 54.27 |  |  | 16.2
| Store | 1 | 7 |  | 3.35 | 23.45 |  |  | 7
| Cross wall below store | 2 | 1.5 |  | 3.35 | 10.05
| Stair | 2 | 7 |  | 3.35 | 46.9 |  |  | 3.5 | 7
| Toilet | 1 | 2.4 |  | 2.1 | 5.04
| Group B officer | 1 | 22.2 |  | 3.35 | 74.37 |  |  | 22.2
| Total |  |  |  |  | 362.15
Deduction
| Door D1 | 2 | 1 |  | 2.4 | 4.8
| D2 | 1 | 0.9 |  | 2.4 | 2.16
| FD | 2 | 0.8 |  | 2.4 | 3.84
| Window W4 | 1 | 2.5 |  | 1.65 | 4.125
| W2 | 1 | 1.65 |  | 1.65 | 2.7225
| V | 2 | 1 |  | 0.6 | 1.2
| Stair opening | 1 | 2.4 |  | 2.9 | 6.96
| Landing beam | 2 | 2.4 |  | 0.4 | 1.92
| column | 12 | 0.3 |  | 2.9 | 15.66
Lintel
|  | 2x2 | 12.4 |  | 0.15 | 7.44
|  | 5x2 | 4.9 |  | 0.15 | 7.35
|  | 1x2 | 1.9 |  | 0.15 | 0.57
| Total deduct |  |  |  |  | 58.7475
| Less deduct |  |  |  |  | 303.4025
b | First floor
| Outside wall all round [2x2.85+2x5.65=41.8] [(3.19-.29)+.45=3.35] | 1 | 17 |  | 2.4 | 40.8 |  |  | 17
| Inside wall | 1 | 15.5 |  | 2.4 | 37.2 |  |  | 15.5
| Parapet varandah | 1 | 16.3 |  | 1.8 | 29.34 |  |  | 1.8
| Top | 1 | 3.3 |  | 1.4 | 4.62 |  |  | 1.4
|  | 1 | 7.9 |  | 1.4 | 11.06
| Total |  |  |  |  | 123.02
Deduction
| Door D1 | 1 | 1 |  | 2.4 | 2.4
| W2 | 1 | 1.65 |  | 1.65 | 2.7225
5.1225
| Less deduction |  |  |  |  | 117.8975
| Total |  |  |  |  | 421.3 | 421.3 | m2 | 315
30 | Plastering with CM 1 : 3, 6mm thick for underside of slabs & beams
Ground floor
| Column | 8 | 1.1 |  | 2.9 | 25.52 |  |  | 1.1
|  | 3 | 0.4 |  | 2.9 | 3.48
| Waist slab-1.2+0.15 | 1 | 4.31 | 1.35 |  | 5.8185
| do | 1 | 1.71 | 1.35 |  | 2.3085
| Roof slab | 1 | 14.5 | 7.3 |  | 105.85
| Landing slab | 1 | 2.8 | 1.6 |  | 4.48
|  | 1 | 2.5 | 1.2 |  | 3
| roof projection - varandah | 1 | 13.9 | 0.9 |  | 12.51
| Lintel | 2x2 | 12.4 |  | 0.15 | 7.44
| 5.5-2x0.3 | 5x2 | 4.9 |  | 0.15 | 7.35
| store | 1x2 | 1.9 |  | 0.15 | 0.57
Beam
| Long beam 13.9-6x0.25 | 3x2 | 12.4 |  | 0.29 | 21.576
| Short beam 7.00-3x0.30 | 6x2 | 6.1 |  | 0.29 | 21.228
| Verandah | 1x2 | 13.3 |  | 0.29 | 7.714
| Stairbeam (ground) | 2 | 1.2 |  | 0.3 | 0.72
|  | 1 | 1.2 |  | 0.25 | 0.3
| Top | 1x2 | 2.3 |  | 0.4 | 1.84
|  | 1 | 2.3 |  | 0.25 | 0.575
|  | 1x2 | 2.3 |  | 0.4 | 1.84
|  | 1 | 2.3 |  | 0.25 | 0.575
Drop
| Verandah | 1 | 13.9 | 1.95 |  | 27.105 |  |  | 1.95
| side | 1 | 1.5 | 1.95 |  | 2.925
Sunshade
| W2 | 7 | 1.85 | 0.6 |  | 7.77
| V | 1 | 4.1 | 0.6 |  | 2.46
274.955
| Deduct stair area | 1 | 2.4 | 5.3 |  | 12.72
262.235
First floor
| Column | 4x2 | 0.3 |  | 2.4 | 5.76
Beam
| Long beam 7.00-3x0.30 | 2x2 | 6.1 |  | 0.25 | 6.1
| Short beam 2.8-2x0.25 | 4x2 | 2.3 |  | 0.25 | 4.6
| Slab | 1 | 3.3 | 7.9 |  | 26.07
42.53
Gate
Pillar
| Pillar-wicket | 2 | 3.2 | 3.65 |  | 23.36
| Pillar-main gate | 2 | 3.2 | 6.6 |  | 42.24
Beam
| For wicket gate | 4x2 | 3.1 |  | 0.25 | 6.2
| For main gate | 2x2 | 7.3 |  | 0.25 | 7.3
Slab
| For wicket gate | 2 | 3.1 | 2 |  | 12.4
| For main gate | 1 | 7.3 | 2 |  | 14.6
Drop
| For wicket gate | 2x2 | 3.1 | 0.4 |  | 4.96
| For main gate | 1x2 | 8.9 | 0.4 |  | 7.12
118.18
| Total |  |  |  |  | 422.945 | 423 | m2
31 | Plastering with CM 1:3, 12mm thick mixed with WPC over roof slab | 1 | 14.9 | 8 |  | 119.2
Ground floor
| roof projection - varandah | 1 | 13.9 | 0.9 |  | 12.51
Sunshade
| W2 | 7 | 1.85 | 0.6 |  | 7.77
| V | 1 | 4.1 | 0.6 |  | 2.46
First floor
| Slab top | 1 | 3.3 | 7.9 |  | 26.07
Gate
Slab top
| For wicket gate | 2 | 3.1 | 2 |  | 12.4
| For main gate | 1 | 7.3 | 2 |  | 14.6
[6 empty] | 195.01 | 195 | m2
32 | Dadooing toilet
| Toilet Inside allround | 1 | 7.8 |  | 2.1 | 11.7 |  |  | 7.8
| Deduct | 1 | 0.8 |  | 2.1 | 1.2
| Less deduction |  |  |  |  | 10.5 | 10.5 | m2
33 | Skirting
Ground floor
| Verandah front 13.7+1.5 | 1 | 15.2 |  | 0.15 | 2.28 |  |  | 15.2
| Security / store all round [2x5.1 + 2x4.7] | 1 | 19.6 |  | 0.15 | 2.94 |  |  | 19.6
| store long wall | 2 | 2.1 |  | 0.15 | 0.63
| store cross wall | 4 | 1.5 |  | 0.15 | 0.9
| stair all round | 1 | 9.8 |  | 0.15 | 1.47 |  |  | 9.8 | 3.7
| Group B officer inside allround | 1 | 22.2 |  | 0.15 | 3.33 |  |  | 22.2
| columns | 7 | 1.1 |  | 0.15 | 1.155
| landing | 1 | 5.6 |  | 0.15 | 0.84
| stair | 1 | 6.44 |  | 0.15 | 0.966
| steps | 18 | 0.28 |  | 0.17 | 0.8568
| Total |  |  |  |  | 15.3678
First floor
| Landing portion | 1 | 2.3 |  | 0.15 | 0.345 |  |  |  | 2.25
| balcony front | 1 | 2.4 |  | 0.15 | 0.36
| column | 2 | 1.1 |  | 0.15 | 0.33
1.035
| Total |  |  |  |  | 16.4028 | 16.4 | m2
34 | Painting inside
Ground floor
| Security / store all round [2x5.1 + 2x4.7] | 1 | 19.6 |  | 3.04 | 59.584
| store long wall | 2 | 2.1 |  | 3.04 | 12.768
| store cross wall | 4 | 1.5 |  | 3.04 | 18.24
| columns | 2 | 1.1 |  | 3.04 | 6.688
| Group B officer inside allround | 1 | 22.2 |  | 3.04 | 67.488
| Stair room | 1 | 2.4 |  | 2.04 | 4.896 |  |  | 2.04
|  | 2 | 3.7 |  | 3.04 | 22.496
| Waist slab-1.2+0.15 | 1 | 4.31 | 1.35 |  | 5.8185
| do | 1 | 1.71 | 1.35 |  | 2.3085
| Roof slab | 1 | 14.5 | 7.3 |  | 105.85
| Landing slab | 1 | 2.8 | 1.6 |  | 4.48
|  | 1 | 2.5 | 1.2 |  | 3
| roof projection - varandah | 1 | 13.9 | 0.9 |  | 12.51
326.127
Deduction
| Door D1 | 2 | 1 |  | 2.4 | 4.8
| D2 | 1 | 0.9 |  | 2.4 | 2.16
| FD | 2 | 0.8 |  | 2.4 | 3.84
| Window W4 | 1 | 2.5 |  | 1.65 | 4.125
| W2 | 1 | 1.65 |  | 1.65 | 2.7225
| V | 2 | 1 |  | 0.6 | 1.2
18.8475
| Less deduction |  |  |  |  | 307.2795
First floor
| Inside all round | 1 | 15.5 |  | 2.4 | 37.2 |  |  | 15.5
| Beams | 1 | 15.5 |  | 0.25 | 3.875
|  | 1 | 2.4 |  | 0.8 | 1.92 |  |  | 0.8
| Slab | 1 | 3.3 | 7.9 |  | 26.07
69.065
| Deduct D1 | 1 | 1 |  | 2.4 | 2.4
| Less deduction |  |  |  |  | 66.665
| Total |  |  |  |  | 373.9445 | 374 | m2
35 | out side painting
Ground floor
| Outside all round | 1 | 38.8 |  | 3.64 | 141.232 |  |  | 38.8 | 3.64
| Column | 5 | 1.1 |  | 3.04 | 16.72 |  |  | 3.04
| Verandah projection | 1 | 1.5 |  | 3.04 | 4.56
| roof projection - varandah | 2 | 15.4 | 1 |  | 30.8 |  |  | 15.4
| Roof projection - three side | 2 | 26.4 | 0.4 |  | 21.12 |  |  | 26.4
Sunshade
| W2 | 7 | 1.85 | 1.28 |  | 16.576 |  |  | 1.28
| V | 1 | 4.1 | 1.28 |  | 5.248
Drop
| Verandah | 1 | 13.9 | 1.95 |  | 27.105
| side | 1 | 1.5 | 1.95 |  | 2.925
First floor
| All round | 1 | 16.8 |  | 2.4 | 40.32 |  |  | 5.65 | 16.8
| Beam | 1 | 16.8 |  | 0.25 | 4.2
| Parapet varandah | 1 | 16.3 |  | 1.8 | 29.34
| Top | 1 | 4.6 |  | 1.4 | 6.44
|  | 1 | 8.8 |  | 1.4 | 12.32
358.906
Gate
Pillar
| Pillar-wicket | 2 | 3.2 | 3.65 |  | 23.36
| Pillar-main gate | 2 | 3.2 | 6.6 |  | 42.24
Beam
| For wicket gate | 4x2 | 3.1 |  | 0.25 | 6.2
| For main gate | 2x2 | 7.3 |  | 0.25 | 7.3
Slab
| For wicket gate | 2x2 | 3.1 | 2 |  | 24.8
| For main gate | 1x2 | 7.3 | 2 |  | 29.2
Drop
| For wicket gate | 2x2 | 3.1 | 0.85 |  | 10.54 |  |  | 0.85
| For main gate | 1x2 | 8.9 | 0.85 |  | 15.13
158.77
| Total |  |  |  |  | 517.676 | 518 | m2
36 | providing SS hand rails
| Stair | 1 | 4.31 |  |  | 4.31
|  | 1 | 1.71 |  |  | 1.71
[6 empty] | 6.02 | 6.1 | m
37 | providing wooden doorframes
| Door D1 | 2 | 6.8 | 0.1 | 0.075 | 0.102 |  |  | 6.8
| D2 | 1 | 5.7 | 0.1 | 0.075 | 0.04275 |  |  | 5.7
| F.F D1 | 1 | 6.8 | 0.1 | 0.075 | 0.051
| Total |  |  |  |  | 0.19575 | 0.2 | m3
38 | providing Aluminium framed doors
| Door D1 | 2 | 1 |  | 2.4 | 4.8 |  |  | 2.25 | 0.85
| D2 | 1 | 0.9 |  | 2.4 | 2.16 |  |  | 0.75
| F.F D1 | 1 | 0.9 |  | 2.4 | 2.16
| Total |  |  |  |  | 9.12 | 9.12 | m2
39 | Painting Deluxe Multi Surface Paint of required shade for doors
| Door D1 | 2 | (1x2.4x constant 2.25) |  |  | 10.8
| D2 | 1 | (0.9x2.4x constant 2.25) |  |  | 4.86
| F.F D1 | 1 | (1x2.4x constant 2.25) |  |  | 5.4
[6 empty] | 21.06 | 21.1 | m2
40 | Providing FRP doors for toilet & store | 2 | 0.8 |  | 2.4 | 3.84 | 3.85 | m2
41 | Providing and fixing aluminium sliding window
| W4 | 1 | 2.5 |  | 1.65 | 4.125
| W2 | 9 | 1.65 |  | 1.65 | 24.5025
[6 empty] | 28.6275 | 29 | m2
42 | Providing and fixing aluminium framed louvered ventilators
| V | 2 | 1 |  | 0.6 | 1.2 | 1.2 | m2
43 | Providing and fixing Aluminium framed partition
| Group B officer long side | 1 | 6 |  | 1.5 | 9
| cross | 1 | 3 |  | 1.5 | 4.5
13.5
| Deduct HD | 2 | 0.9 |  | 1.5 | 2.7
| Less deduction |  |  |  |  | 10.8 | 10.8 | m2
44 | Providing and fixing powder coated aluminium half doors
| HD | 2 | 0.9 |  | 0.75 | 1.35 | 1.4 | m2
45 | Providing and fixing 4mm tk. Aluminium composite panels of approved make
Office Building
Ground floor
| Two sides of bldg. | 2 | 5.5 |  | 3.64 | 40.04 |  |  | 3.64
| Column | 1 | 0.5 |  | 6.9 | 3.45 |  |  | 6.9
| Front drop | 1 | 13.9 |  | 1 | 13.9
|  | 1 | 1.5 |  | 1 | 1.5
58.89
| Deduct W2 | 4 | 1.65 |  | 1.65 | 10.89
| Less deduction |  |  |  |  | 48
First floor
| Front balcony | 1 | 2.4 |  | 2.4 | 5.76
| Two sides of bldg. | 2 | 5.65 |  | 2.4 | 27.12 |  |  | 5.65
| Parapet varandah | 1 | 16.3 |  | 0.8 | 13.04
| Top | 1 | 3.3 |  | 0.65 | 2.145
|  | 2 | 7.9 |  | 0.65 | 10.27
58.335
| Deduct D1 | 1 | 1 |  | 2.4 | 2.4
| Less deduction |  |  |  |  | 55.935
Gate
| Gate pillar wicket | 2 | 3.2 | 3.65 |  | 23.36
| Main | 2 | 3.2 | 6.6 |  | 42.24
| Drop wicket | 2x2 | 3.1 | 0.4 |  | 4.96
| Main | 1x2 | 8.9 | 0.4 |  | 7.12
| Slab wicket | 2 | 3.1 | 2 |  | 12.4
| main gate | 1 | 7.3 | 2 |  | 14.6
104.68
| Total |  |  |  |  | 208.615 | 209 | m2
46 | Trans porting surplus earth |  | Qty of item 5-6 |  |  | 52.1 | 52.1 | m3
Water supply and Sanitory arrangements
47 | Supplying a& fixing 550x400mm size wash hand basin with trap, waste pipe etc. | 1 |  |  |  |  | 1 | Nos.
48 | Supplying and fixing European type white glazed earthen ware WC pan | 1 |  |  |  |  | 1 | No.
49 | Providing and fixing 600x450 mm beveled edge mirror of superior glass (of approved quality) | 1 |  |  |  |  | 1 | Nos.
50 | Providing and fixing 110mm OD class-2 PVC pipe for drainage
| Vertical | 1 | 3 |  |  | 3
| Horizontal | 1 | 10 |  |  | 10
| Total |  |  |  |  | 13 | 13 | m
51 | Providing and fixing 63mm OD class-2 PVC pipe for drainage
| Vertical | 1 | 2 |  |  | 2
| Horizontal | 1 | 10 |  |  | 10
| Total |  |  |  |  | 12 | 12 | m
52 | Providing and fixing floor trap | 2 |  |  |  | 2 | 2 | Nos
53 | Providing manhole 45x45x45cm | 1 |  |  |  | 1 | 1 | Nos
54 | Providing 10 users RCC sptic tank | 1 |  |  |  | 1 | 1 | No.
55 | Providing and fixing RC precast water tank of 3000 lit capacity | 1 |  |  |  | 1 | 1 | No.
56 | Providing and laying 25mm OD class-5 PVC pipe from water tank on walls | 1 | 25 |  |  | 25 | 25 | m
57 | Providing and laying 20mm OD class-5 PVC pipe on walls | 1 | 15 |  |  | 15 | 15 | m
58 | Providing GM full way valve 25mm dia. | 2 |  |  |  | 2 | 2 | No
59 | Providing and fixing 15mm CP angle cock | 2 |  |  |  | 2 | 3 | Nos
60 | Providing and fixing PVC connector | 2 |  |  |  |  | 2 | Nos
61 | Providing and fixing 15mm CP Long body tap | 1 |  |  |  | 1 | 1 | No
62 | Providing and fixing 1000lit PVC tank | 1 |  |  |  | 1 | 1 | Nos
63 | Providing cast iron gate 7.30mx3.50 | 1 | 400 |  |  | 400 | 400 | Kg
64 | Providing cast iron gate 1.50mx2m | 2 | 100 |  |  | 200 | 200 | Kg
65 | Electrification
20.25
14
6.2
[9 empty] | 0.16 | 2.24
2.32
[10 empty] | 2.24 | 0.84
11.5

## Abstract
Annexure-I
COCHIN PORT AUTHORITY
BUDGETARY ENQUIRY
Name of work: Replacement of damaged fenders in Ernakulam Wharf using the spare fenders available.
Sl No: | Sub heads and items of work | Quantity | Rate RS Ps | Unit | Amount Rs
1 | Dismantling,removing and stacking existing old & damaged Cell Type rubber Fenders 1250 H fender without damaging the nearby structures etc complete as per the directions of the Engineer-in-charge | 2 |  | E
2 | Dismantling and removing the damaged bolts and chain accessories without damaging the nearby structures etc complete as per the directions of the Engineer-in-charge | 8 |  | E
3 | Removing, cleaning and fixing of Anchor bolts with chemical as per the directions of the Engineer-in-charge | 18 |  | E
4 | Fixing of chain 'U' clamp with chemical as per the directions of the Engineer-in-charge | 14 |  | E
5 | Fixing Cell type rubber fender 1250H with all fixtures like bolts, nuts, washers, resin anchor bolts etc. and accessories like frontal frame (1750 x 2500 mm),frontal pad, tension and weight chains,supplied by the department free of cost. in place of fenders dismantledas per the directions of the Engineer-in-charge. | 3 |  | E |  | 0
Note
(i) Rate quoted shall not include GST.
(ii) GST will be paid extra.

## data
3 | Filling in basement with 6mm granite metal mixed with quarry dust including ramming
Unit 1m3
0.75 | Nos |  | Mazdoor |  |  | @ Rs. | 500 | /day | 375
Materials
1 | m3 |  | 6mm granite metal |  |  | @ Rs. | 1700 | /m3 | 1700
0.5 | m3 |  | Quarry dust |  |  | @ Rs. | 1500 | /m3 | 750
|  |  | Hire of T & P |  |  |  | L.S. |  | 5
|  |  | Sundries |  |  | @ 3% |  |  | 84.75
|  |  | GRAND TOTAL | [5 empty] | 2914.75
Materials - |  |  | 2450 | Labour - | Rs | 375 | Say Rs. 1995.50/m3
3497.7
11 | Flooring with first quality anti skid ceramic tiles of size not less than 300mmx300mm Johnson or Khajaria or Nitco make with cement slurry over newly plastered surface finishing the joints with tile joint filler including
Unit 1m2
0.2 | Nos |  | Mason 1st class |  |  | @ Rs. | 450 | /day | 90
0.3 | Nos |  | Mazdoor |  |  | @ Rs. | 310 | /day | 93
Materials
1.1 | m2 |  | Antiskid ceramic tiles 300x300mm size (white / coloured) |  |  | @ Rs. | 400 | /m2 | 440
2.2 | Kg |  | Cement |  |  | @ Rs. | 7 | /Kg | 15.4
|  |  | L.S. for tile joint filler,water etc |  |  |  | L.S |  | 10
|  |  | L.S. for cutter | [5 empty] | 25
|  |  | Sundries |  |  | @ 3% |  |  | 19.152
|  |  | GRAND TOTAL | [5 empty] | 692.552
Materials - |  | Rs. | 465.4 | Labour - | Rs. | 183 | Say Rs. 692.60/m2
831.0624
13 | Dadooing the walls with best glazed white/coloured tiles of size 300mmx200mm Johnson or Khajaria or Nitco make and pointing with joint filler excluding plastering
Unit 1m2
0.6 | Nos |  | Mason 1st class |  |  | @ Rs. | 450 | /day | 270
0.3 | Nos |  | Mazdoor |  |  | @ Rs. | 310 | /day | 93
Materials
18 | Nos |  | Glazed tiles 300x200mm size (white/coloured) |  |  | @ Rs. | 19.5 | /1No | 351
4.4 | Kg |  | Cement |  |  | @ Rs. | 7 | /Kg | 30.8
|  |  | L.S. for tile jointing filler,water etc |  |  |  | L.S |  | 3
|  |  | Sundries |  |  | @ 3% |  |  | 22.344
|  |  | GRAND TOTAL | [5 empty] | 770.144
Materials - |  | Rs. | 384.8 | Labour - | Rs. | 363 | Say Rs. 770.10/m2
924.1728
12 | Supplying and laying/fixing 110mm dia PVC pipe (class 2) buried / above ground for drainage disposal
Unit 1m
0.06 | Nos |  | Mason 2nd class |  |  | @ Rs. | 600 | /day | 36
0.06 | Nos |  | Mazdoor |  |  | @ Rs. | 500 | /day | 30
Materials
1.1 | m |  | 110mm PVC pipe pasting |  |  | @ Rs. | 155 | /m | 170.5
|  |  | Lump sum for fixing |  |  |  | L.S |  | 7
|  |  | Sundries |  |  | @ 3% |  |  | 7.095
|  |  | GRAND TOTAL | [5 empty] | 250.595
Materials - |  | Rs. | 170.5 | Labour - | Rs. | 73 | Say Rs. 225.30/m
527.06
24 | Supplying, laying and jointing 20mm dia PVC pipe (class 5) including all specials for water supply line
Unit 1m
0.01 | Nos |  | Plumber |  |  | @ Rs. | 380 | /day | 3.8
0.05 | Nos |  | Mazdoor |  |  | @ Rs. | 310 | /day | 15.5
Materials
1.1 | m |  | 20mm PVC pipe |  |  | @ Rs. | 14 | /m | 15.4
|  |  | Lump sum for specials etc |  |  |  | L.S |  | 2
|  |  | Sundries |  |  | @ 3% |  |  | 1.041
|  |  | GRAND TOTAL | [5 empty] | 37.741
Materials - |  | Rs. | 17.4 | Labour - | Rs. | 19.3 | Say Rs. 37.70/m

## Detailed (Building)
COCHIN PORT TRUST
DETAILED ESTIMATE
Name of work: CONSTRUCTION OF GATE OFFICE AT PUTHUVYPEEN FOR CISF
Sl.No. | Details of work | No. | Measurement in metre |  |  | Area or Content | Total Quantity of each description of work |  | Total qty of G.F, F.F SF
|  |  | Length | Breadth | Depth
PART A - INSTALLATION OF BORED CAST-IN-SITU PILES
1 | Boring through all strata for installing 400 mm dia bored cast-in-situ piles upto -17m | 18 |  |  | 17 | 306 | 306 | m
2 | Provinding RCC M40 grade inside the pile bore | 18 | 0.1256 | m2 | 17 | 38.4336 |  |  |  |  | 0.1256
| bulb-3.14x0.7x0.7/4= 0.385-0.13 | 18 | 0.26 | m2 | 0.6 | 2.808 |  |  |  |  | 0.255
| Total |  |  |  |  | 41.2416 | 42 | m3
3 | Providing reinforcement in cages inside pile bore @ 150 kg/m3 |  | 42 |  | 0.15 | 6.3
| Add 3% extra |  |  |  |  | 0.189
| Total |  |  |  |  | 6.489 | 6.5 | T
4 | Chipping the concrete from the top of piles up to cut off level | 18 | 0.13 | m2 | 1 | 2.34 | 2.4 | m3
5 | Earthwork excavation for grade
Office Building
| Pile caps | 18 | 1 | 1 | 0.88 | 15.84
| Long beams 13.90-6x 0.80 | 3 | 9.1 | 0.5 | 0.58 | 7.917 |  |  |  | 9.1
| Short beam 7- 3x0.8 | 6 | 4.6 | 0.5 | 0.58 | 8.004 |  |  |  | 4.6
| Verandah inside wall-13.70 -0.50 | 1 | 13.2 | 0.5 | 0.58 | 3.828 |  |  |  | 13.2
| Step | 1 | 13.9 | 0.75 | 0.15 | 1.5637
[6 empty] | 37.1527 | 37.2 | m3
6 | Providing PCC 1:4:8, below pile cap and grade beam
Office Building
| a. Pile cap | 18 | 1 | 1 | 0.08 | 1.44
| Long beam | 3 | 9.1 | 0.5 | 0.08 | 1.092
| Short beam | 6 | 4.6 | 0.5 | 0.08 | 1.104
| Verandah inside wall-13.70 -0.50 | 1 | 13.2 | 0.5 | 0.08 | 0.528
| Step | 1 | 13.9 | 0.75 | 0.15 | 1.5637
5.7278
| deduct-pile | 18 | 0.4 | 0.4 | 0.08 | 0.2304
[6 empty] | 5.4973 | 6 | m3
7 | Providing RCC M30 for pile cap and fdn beam
Office Building
| a. Pile cap | 18 | 0.8 | 0.8 | 0.8 | 9.216
| Long beams 13.90-6x 0.80 | 3 | 9.1 | 0.3 | 0.5 | 4.095
| Short beam 7- 3x0.8 | 6 | 4.6 | 0.3 | 0.5 | 4.14
| Verandah inside wall-13.70 -0.50 | 1 | 13.2 | 0.3 | 0.5 | 1.98
[6 empty] | 19.431 | 19.5 | m3
8 | Providing reinforcement in pile cap fdn beam etc@ 200 kg/m3 |  | 19.5 |  | 0.2 | 3.9
| Add 3% extra |  |  |  |  | 0.117
[6 empty] | 4.017 | 6.2 | T
9 | Block Masonry for basement
Office Building
| Long wall=13.9-6x.25 | 3 | 12.4 | 0.3 | 0.45 | 5.022 |  |  |  | 12.4
| Short wall=7-3x.25 | 6 | 6.25 | 0.3 | 0.45 | 5.0625 |  |  |  | 6.25
| Verandah inside wall-13.70 -.50.50 | 1 | 13.2 | 0.3 | 0.45 | 1.782
| step | 1 | 13.9 | 0.6 | 0.15 | 1.251
| cross wall store | 2 | 1.5 | 0.3 | 0.45 | 0.405
| Toilet | 1 | 2.4 | 0.3 | 0.45 | 0.324
| Total |  |  |  |  | 13.8465 | 13.9 | m3
10 | Basement filling
Office Building
| Security office | 1 | 3 | 5.1 | 0.35 | 5.355
| store | 1 | 1.5 | 2 | 0.35 | 1.05
| near store | 1 | 1.5 | 1.2 | 0.35 | 0.63 |  |  | 1.8
|  | 1 | 1.8 | 1.8 | 0.35 | 1.134
| Toilet | 1 | 2.4 | 1.5 | 0.35 | 1.26
| stair | 1 | 2.4 | 3.7 | 0.35 | 3.108
| Group-B | 1 | 6 | 5.1 | 0.35 | 10.71
| Verandah-13.9-2x0.3 | 1 | 13.3 | 1.2 | 0.35 | 5.586
| Total |  |  |  |  | 28.833 | 29 | m3
11 | Providing RCC M30grade column using 20mm metal
Office Building
a | Ground floor | 18 | 0.25 | 0.3 | 3.19 | 4.3065
b | first floor | 6 | 0.25 | 0.3 | 2.65 | 1.1925
5.499
Gate
| pillar-3.25+0.40 | 2 | 0.8 | 0.8 | 3.65 | 4.672
|  | 2 | 0.8 | 0.8 | 6.6 | 8.448
13.12
| Total |  |  |  |  | 18.619 | 18.65 | m3 | 22.3
12 | Shuttering for column- GF | [8 empty] | 1.1
Office Building
| GF | 18 | 1.1 | 3.19 |  | 63.162
| FF | 6 | 1.1 | 2.65 |  | 17.49
80.652
Gate
| Pillar-wicket | 2 | 3.2 | 3.65 |  | 23.36 |  |  | 3.2
| Pillar-main gate | 2 | 3.2 | 6.6 |  | 42.24
65.6
| Total |  |  |  |  | 146.252 | 146.3 | m2 | 138m2
13 | Providing RCC m30 grade for beam
Office Building
a | Ground floor top beams
| Long beam 13.9-6x0.25 | 3 | 12.4 | 0.25 | 0.29 | 2.697 |  |  |  | 0.29
| Short beam 7.00-3x0.30 | 6 | 6.1 | 0.25 | 0.29 | 2.6535
| Verandah | 1 | 13.3 | 0.25 | 0.29 | 0.96425
| Stairbeam (ground) | 1 | 1.2 | 0.25 | 0.3 | 0.09
| Top | 1 | 2.3 | 0.25 | 0.4 | 0.23
| landing beam | 1 | 2.3 | 0.25 | 0.4 | 0.23
6.8647
b | First floor top beams
| Long beam 7.00-3x0.30 | 2 | 6.1 | 0.25 | 0.25 | 0.7625
| Short beam 2.8-2x0.25 | 3 | 2.3 | 0.25 | 0.25 | 0.43125 |  |  |  | 2.3
1.1938
Gate
| For wicket gate | 2x2 | 3.1 | 0.25 | 0.25 | 0.775
| For main gate | 2 | 7.3 | 0.25 | 0.25 | 0.9125
1.6875
| Total |  |  |  |  | 9.746 | 9.8 | m3
14 | Proving shuttering for beams
Office Building
a | Ground floor top beams
| Long beam 13.9-6x0.25 | 3x2 | 12.4 |  | 0.29 | 21.576
| Short beam 7.00-3x0.30 | 6x2 | 6.1 |  | 0.29 | 21.228
| Verandah | 1x2 | 13.3 |  | 0.29 | 7.714
| Stairbeam (ground) | 2 | 1.2 |  | 0.3 | 0.72 |  |  |  | 59.26
|  | 1 | 1.2 |  | 0.25 | 0.3
| Top | 1x2 | 2.3 |  | 0.4 | 1.84
|  | 1 | 2.3 |  | 0.25 | 0.575
|  | 1x2 | 2.3 |  | 0.4 | 1.84
|  | 1 | 2.3 |  | 0.25 | 0.575
56.368
b | First floor top beams
| Long beam 7.00-3x0.30 | 2x2 | 6.1 |  | 0.25 | 6.1
| Short beam 2.8-2x0.25 | 4x2 | 2.3 |  | 0.25 | 4.6
10.7
Gate
| For wicket gate | 4x2 | 3.1 |  | 0.25 | 6.2
| For main gate | 2x2 | 7.3 |  | 0.25 | 7.3
13.5
| Total |  |  |  |  | 80.568 | 81 | m2
15 | Providing RCC M30 grade roof/ floor/ landing slab, 11cm thick
Office Building
| Roof slab | 1 | 14.5 | 7.3 | 0.11 | 11.6435 |  |  |  | 14.5 | 7.15
| Landing slab | 1 | 2.8 | 1.6 | 0.12 | 0.5376
|  | 1 | 2.5 | 1.2 | 0.11 | 0.33
| roof projection - sunshade-front | 1 | 13.9 | 0.9 | 0.11 | 1.3761
| side | 1 | 1.5 | 0.9 | 0.11 | 0.1485
14.0357
| Deduct stair area | 1 | 2.4 | 5.3 | 0.11 | 1.3992 |  |  |  | 3.7
| Less deduction |  |  |  |  | 12.6365
| First floor roof slab | 1 | 3.3 | 7.9 | 0.12 | 3.1284
Gate
| For wicket gate | 2 | 3.1 | 2 | 0.1 | 1.24
| For main gate | 1 | 7.3 | 2 | 0.1 | 1.46
2.7
| Total |  |  |  |  | 18.4649 | 18.5 | m3
16 | Shuttering slab
Office Building
| Roof slab | 1 | 14.5 | 7.3 |  | 105.85
| Landing slab | 1 | 2.8 | 1.6 |  | 4.48
|  | 1 | 2.5 | 1.2 |  | 3
| roof projection - varandah | 1 | 13.9 | 0.9 |  | 12.51
125.84
| Deduct stair area | 1 | 2.4 | 5.3 |  | 12.72
| column | 18 | 0.25 | 0.3 |  | 1.35
14.07
| Less deduction |  |  |  |  | 111.77
| First floor slab | 1 | 3.3 | 7.9 |  | 26.07
Gate
| For wicket gate | 2 | 3.1 | 2 |  | 12.4
| For main gate | 1 | 7.3 | 2 |  | 14.6
27
| Total |  |  |  |  | 164.84 | 165 | m2
17 | Providing RCC M30 grade for stair
a | Ground floor
| Staircase waist slab Sq rt 3.64 +2.31 | 1 | 4.31 | 1.2 | 0.15 | 0.7758
| 1.4+0.99 sqrt | 1 | 1.71 | 1.2 | 0.15 | 0.3078
| Steps 1/2 | 18 | 1.2 | 0.28 | 0.165 | 0.49896
| Total |  |  |  |  | 1.5826 | 1.6 | m3
18 | shuttering Stair
a | Ground floor4.31+1.71,1.2+0.30 | 1 | 6.02 | 1.5 |  | 9.03
| steps 2x1/2 sides | 18 | 0.28 | 0.16 |  | 0.8064
|  | 18 | 1.2 | 0.16 |  | 3.456
| Total |  |  |  |  | 13.2924 | 14 | m2
19 | Providing RCC M 30 grade for lintel
a | GF | 2 | 12.4 | 0.2 | 0.15 | 0.744
| 5.5-2x0.3 | 5 | 4.9 | 0.2 | 0.15 | 0.735
| store | 1 | 1.9 | 0.1 | 0.15 | 0.0285
[6 empty] | 1.5075 | 1.5 | m3
20 | Shuttering lintel
a | GF | 2x2 | 12.4 |  | 0.15 | 7.44
| 5.5-2x0.3 | 5x2 | 4.9 |  | 0.15 | 7.35
| store | 1x2 | 1.9 |  | 0.15 | 0.57
[6 empty] | 15.36 | 15.5 | m2
21 | Providg RCC M20 grade for drops
Office Building
| Verandah | 1 | 13.9 | 1 |  | 13.9
| side | 1 | 2.4 | 1 |  | 2.4 |  |  |  | 2.4
16.3
Gate
| For wicket gate | 2x2 | 3.1 | 0.4 |  | 4.96
| For main gate | 1x2 | 8.9 | 0.4 |  | 7.12 |  |  |  | 8.9
12.08
| Total |  |  |  |  | 28.38 | 28.5 | m2
22 | Sunshade- G.F
Office Building
| W2 | 7 | 1.85 | 0.6 | 0.08 | 0.6216 |  |  |  | 0.0875
| V | 1 | 4.1 | 0.6 | 0.08 | 0.1968
| Total |  |  |  |  | 0.8184 | 0.8 | m3 | 1.98
23 | Shuttering -G.F 0.8+0.08 (sides)
| W2 | 7 | 2.01 | 0.76 |  | 10.6932 |  |  | 2.01 | 0.76
| V | 1 | 4.26 | 0.76 |  | 3.2376 |  |  | 4.26
[6 empty] | 13.9308 | 14 | m2
24 | Providing reinforcement with HYSD bars for RCC works listed above @ 200Kg/m3
| Columns @ 150 kg/m3 |  | 18.65 | Cu. M@ | 150 | 2.7975
| Beams @ 160 kg/m3 |  | 9.8 | Cu. M@ | 160 | 1.568
| Slab @ 100 kg/m3 |  | 18.5 | Cu. M@ | 100 | 1.85
| Stair @ 120 kg/m3 |  | 1.6 | Cu. M@ | 120 | 0.192
| Lintel@ 150 kg/m3 |  | 1.5 | Cu. M@ | 150 | 0.225
| Drop@ 120 kg/m3 |  | 1.425 | Cu. M@ | 100 | 0.1425
| Sunshades @ 100 kg/m3 |  | 0.8 | Cu. M@ | 100 | 0.08
| Total |  |  |  |  | 6.855
| Add 3% extra |  |  |  |  | 0.20565
| Total |  |  |  |  | 7.0606 | 7.1 | T
25 | Block Masonry for super structure
Office Building
Ground floor
| C/C allround | 1 | 38 | 0.2 | 2.9 | 22.04 |  |  | 38 | 2.9
| varandah projection | 1 | 1.2 | 0.2 | 2.9 | 0.696
| Long wall-stair | 2 | 5.1 | 0.2 | 2.9 | 5.916
| store | 1 | 2.2 | 0.2 | 2.9 | 1.276
| cross wall - store | 2 | 1.5 | 0.1 | 2.9 | 0.87
| toilet | 1 | 2.4 | 0.1 | 2.19 | 0.5256
31.3236
Deduction
| D1 | 2 | 1 | 0.2 | 2.4 | 0.96
| D2 | 1 | 0.9 | 0.2 | 2.4 | 0.432
| FD | 2 | 0.8 | 0.2 | 2.4 | 0.768
| W4 | 1 | 2.5 | 0.2 | 1.65 | 0.825
| W2 | 7 | 1.65 | 0.2 | 1.65 | 3.8115
| V | 2 | 1 | 0.2 | 0.6 | 0.24
| Stair opening | 1 | 2.4 | 0.2 | 2.9 | 1.392
| Lintel as per item 20 |  |  |  |  | 1.51
| Column | 12 | 0.25 | 0.3 | 2.9 | 2.61
| landing beam | 1 | 2.3 | 0.25 | 0.4 | 0.23
12.7785
| Less deduction |  |  |  |  | 18.5451
First floor
| C/C all round | 1 | 16.1 | 0.15 | 2.4 | 5.796 |  |  | 2.55 | 5.5 | 16.1
| Parapet varandah | 1 | 16.3 | 0.2 | 0.8 | 2.608 |  |  | 16.3
| Top | 2 | 4.6 | 0.1 | 0.65 | 0.598 |  |  | 4.6
|  | 2 | 8.8 | 0.1 | 0.65 | 1.144
10.146
Deduction
| D1 | 1 | 1 | 0.15 | 2.4 | 0.36
| W2 | 1 | 1.65 | 0.15 | 1.65 | 0.40837
| Lintel | 2 | 6.1 | 0.15 | 0.15 | 0.2745
|  | 2 | 2.4 | 0.15 | 0.15 | 0.108
1.1509
| Less deduction |  |  |  |  | 8.9951
| Total |  |  |  |  | 27.5402 | 27.3 | m3
26 | Providing C.C 1:4:8 with 40mm metal for bedding concrete for flooring
Ground floor
| Security office | 1 | 3 | 5.1 | 0.1 | 1.53
| store | 1 | 1.5 | 5.1 | 0.1 | 0.765
| stair | 1 | 2.4 | 5.1 | 0.1 | 1.224
| Group-B | 1 | 6 | 5.1 | 0.1 | 3.06
| Verandah-13.9-2x0.3 | 1 | 13.3 | 1.2 | 0.1 | 1.596
| Total |  |  |  |  | 8.175 | 8.2 | m3
27 | Providing floor finish with V,tiles over CM 1 : 3, 20mm thick, finished smooth and thread lined
a) | Ground floor-S.O | 1 | 5.1 | 3 |  | 15.3
| S.O | 1 | 2.9 | 1.7 |  | 4.93 |  |  | 3.1 | 2.9
| store | 1 | 1.5 | 2 |  | 3
| stair | 1 | 3.7 | 2.4 |  | 8.88 |  |  | 3.5
| Group-B | 1 | 5.1 | 6 |  | 30.6
| verandah | 1 | 13.7 | 1.5 |  | 20.55
| Door portion | 2 | 1 | 0.2 |  | 0.4
|  | 1 | 0.9 | 0.2 |  | 0.18
| D | 1 | 0.8 | 0.1 |  | 0.08
| Step- out side | 2 | 13.9 | 0.45 |  | 12.51
| sides | 2 | 0.9 | 0.15 |  | 0.27
|  | 2 | 0.3 | 0.15 |  | 0.09
| landing slab | 1 | 2.4 | 1.6 |  | 3.84
| stairsteps | 18 | 1.2 | 0.45 |  | 9.72
110.35
b | F F
|  | 1 | 2.4 | 1.2 |  | 2.88 |  |  | 2.24 | 2.39
|  | 1 | 2.4 | 1.35 |  | 3.24
6.12
| Total |  |  |  |  | 116.47 | 116.5 | m2 | 114
28 | Flooring toilet with antiskid tile
| Toilet | 1 | 2.4 | 1.5 |  | 3.6
|  | 1 | 0.8 | 0.1 |  | 0.08
| Total |  |  |  |  | 3.68 | 3.7 | m2 | 3.7m2
29 | Plastering walls with CM 1:4 12mm thick
Ground floor
| Outside wall all round [2x13.9+2x7=41.8] [(3.19-.29)+.45=3.35] | 1 | 41.8 |  | 3.35 | 140.03 |  |  | 41.8 | 3.35
| Varandah projection | 1 | 1.2 |  | 3.35 | 4.02
|  | 1 | 1.2 |  | 3.35 | 4.02
Inside wall
| Security office | 1 | 16.2 |  | 3.35 | 54.27 |  |  | 16.2
| Store | 1 | 7 |  | 3.35 | 23.45 |  |  | 7
| Cross wall below store | 2 | 1.5 |  | 3.35 | 10.05
| Stair | 2 | 7 |  | 3.35 | 46.9 |  |  | 3.5 | 7
| Toilet | 1 | 2.4 |  | 2.1 | 5.04
| Group B officer | 1 | 22.2 |  | 3.35 | 74.37 |  |  | 22.2
| Total |  |  |  |  | 362.15
Deduction
| Door D1 | 2 | 1 |  | 2.4 | 4.8
| D2 | 1 | 0.9 |  | 2.4 | 2.16
| FD | 2 | 0.8 |  | 2.4 | 3.84
| Window W4 | 1 | 2.5 |  | 1.65 | 4.125
| W2 | 1 | 1.65 |  | 1.65 | 2.7225
| V | 2 | 1 |  | 0.6 | 1.2
| Stair opening | 1 | 2.4 |  | 2.9 | 6.96
| Landing beam | 2 | 2.4 |  | 0.4 | 1.92
| column | 12 | 0.3 |  | 2.9 | 15.66
Lintel
|  | 2x2 | 12.4 |  | 0.15 | 7.44
|  | 5x2 | 4.9 |  | 0.15 | 7.35
|  | 1x2 | 1.9 |  | 0.15 | 0.57
| Total deduct |  |  |  |  | 58.7475
| Less deduct |  |  |  |  | 303.4025
b | First floor
| Outside wall all round [2x2.85+2x5.65=41.8] [(3.19-.29)+.45=3.35] | 1 | 17 |  | 2.4 | 40.8 |  |  | 17
| Inside wall | 1 | 15.5 |  | 2.4 | 37.2 |  |  | 15.5
| Parapet varandah | 1 | 16.3 |  | 1.8 | 29.34 |  |  | 1.8
| Top | 1 | 3.3 |  | 1.4 | 4.62 |  |  | 1.4
|  | 1 | 7.9 |  | 1.4 | 11.06
| Total |  |  |  |  | 123.02
Deduction
| Door D1 | 1 | 1 |  | 2.4 | 2.4
| W2 | 1 | 1.65 |  | 1.65 | 2.7225
5.1225
| Less deduction |  |  |  |  | 117.8975
| Total |  |  |  |  | 421.3 | 421.3 | m2 | 315
30 | Plastering with CM 1 : 3, 6mm thick for underside of slabs & beams
Ground floor
| Column | 8 | 1.1 |  | 2.9 | 25.52 |  |  | 1.1
|  | 3 | 0.4 |  | 2.9 | 3.48
| Waist slab-1.2+0.15 | 1 | 4.31 | 1.35 |  | 5.8185
| do | 1 | 1.71 | 1.35 |  | 2.3085
| Roof slab | 1 | 14.5 | 7.3 |  | 105.85
| Landing slab | 1 | 2.8 | 1.6 |  | 4.48
|  | 1 | 2.5 | 1.2 |  | 3
| roof projection - varandah | 1 | 13.9 | 0.9 |  | 12.51
| Lintel | 2x2 | 12.4 |  | 0.15 | 7.44
| 5.5-2x0.3 | 5x2 | 4.9 |  | 0.15 | 7.35
| store | 1x2 | 1.9 |  | 0.15 | 0.57
Beam
| Long beam 13.9-6x0.25 | 3x2 | 12.4 |  | 0.29 | 21.576
| Short beam 7.00-3x0.30 | 6x2 | 6.1 |  | 0.29 | 21.228
| Verandah | 1x2 | 13.3 |  | 0.29 | 7.714
| Stairbeam (ground) | 2 | 1.2 |  | 0.3 | 0.72
|  | 1 | 1.2 |  | 0.25 | 0.3
| Top | 1x2 | 2.3 |  | 0.4 | 1.84
|  | 1 | 2.3 |  | 0.25 | 0.575
|  | 1x2 | 2.3 |  | 0.4 | 1.84
|  | 1 | 2.3 |  | 0.25 | 0.575
Drop
| Verandah | 1 | 13.9 | 1.95 |  | 27.105 |  |  | 1.95
| side | 1 | 1.5 | 1.95 |  | 2.925
Sunshade
| W2 | 7 | 1.85 | 0.6 |  | 7.77
| V | 1 | 4.1 | 0.6 |  | 2.46
274.955
| Deduct stair area | 1 | 2.4 | 5.3 |  | 12.72
262.235
First floor
| Column | 4x2 | 0.3 |  | 2.4 | 5.76
Beam
| Long beam 7.00-3x0.30 | 2x2 | 6.1 |  | 0.25 | 6.1
| Short beam 2.8-2x0.25 | 4x2 | 2.3 |  | 0.25 | 4.6
| Slab | 1 | 3.3 | 7.9 |  | 26.07
42.53
Gate
Pillar
| Pillar-wicket | 2 | 3.2 | 3.65 |  | 23.36
| Pillar-main gate | 2 | 3.2 | 6.6 |  | 42.24
Beam
| For wicket gate | 4x2 | 3.1 |  | 0.25 | 6.2
| For main gate | 2x2 | 7.3 |  | 0.25 | 7.3
Slab
| For wicket gate | 2 | 3.1 | 2 |  | 12.4
| For main gate | 1 | 7.3 | 2 |  | 14.6
Drop
| For wicket gate | 2x2 | 3.1 | 0.4 |  | 4.96
| For main gate | 1x2 | 8.9 | 0.4 |  | 7.12
118.18
| Total |  |  |  |  | 422.945 | 423 | m2
31 | Plastering with CM 1:3, 12mm thick mixed with WPC over roof slab | 1 | 14.9 | 8 |  | 119.2
Ground floor
| roof projection - varandah | 1 | 13.9 | 0.9 |  | 12.51
Sunshade
| W2 | 7 | 1.85 | 0.6 |  | 7.77
| V | 1 | 4.1 | 0.6 |  | 2.46
First floor
| Slab top | 1 | 3.3 | 7.9 |  | 26.07
Gate
Slab top
| For wicket gate | 2 | 3.1 | 2 |  | 12.4
| For main gate | 1 | 7.3 | 2 |  | 14.6
[6 empty] | 75.81 | 76 | m2
32 | Dadooing toilet
| Toilet Inside allround | 1 | 7.8 |  | 2.1 | 11.7 |  |  | 7.8
| Deduct | 1 | 0.8 |  | 2.1 | 1.2
| Less deduction |  |  |  |  | 10.5 | 10.5 | m2
33 | Skirting
Ground floor
| Verandah front 13.7+1.5 | 1 | 15.2 |  | 0.15 | 2.28 |  |  | 15.2
| Security / store all round [2x5.1 + 2x4.7] | 1 | 19.6 |  | 0.15 | 2.94 |  |  | 19.6
| store long wall | 2 | 2.1 |  | 0.15 | 0.63
| store cross wall | 4 | 1.5 |  | 0.15 | 0.9
| stair all round | 1 | 9.8 |  | 0.15 | 1.47 |  |  | 9.8 | 3.7
| Group B officer inside allround | 1 | 22.2 |  | 0.15 | 3.33 |  |  | 22.2
| columns | 7 | 1.1 |  | 0.15 | 1.155
| landing | 1 | 5.6 |  | 0.15 | 0.84
| stair | 1 | 6.44 |  | 0.15 | 0.966
| steps | 18 | 0.28 |  | 0.17 | 0.8568
| Total |  |  |  |  | 15.3678
First floor
| Landing portion | 1 | 2.3 |  | 0.15 | 0.345 |  |  |  | 2.25
| balcony front | 1 | 2.4 |  | 0.15 | 0.36
| column | 2 | 1.1 |  | 0.15 | 0.33
1.035
| Total |  |  |  |  | 16.4028 | 16.4 | m2
34 | Painting inside
Ground floor
| Security / store all round [2x5.1 + 2x4.7] | 1 | 19.6 |  | 3.04 | 59.584
| store long wall | 2 | 2.1 |  | 3.04 | 12.768
| store cross wall | 4 | 1.5 |  | 3.04 | 18.24
| columns | 2 | 1.1 |  | 3.04 | 6.688
| Group B officer inside allround | 1 | 22.2 |  | 3.04 | 67.488
| Stair room | 1 | 2.4 |  | 2.04 | 4.896 |  |  | 2.04
|  | 2 | 3.7 |  | 3.04 | 22.496
| Waist slab-1.2+0.15 | 1 | 4.31 | 1.35 |  | 5.8185
| do | 1 | 1.71 | 1.35 |  | 2.3085
| Roof slab | 1 | 14.5 | 7.3 |  | 105.85
| Landing slab | 1 | 2.8 | 1.6 |  | 4.48
|  | 1 | 2.5 | 1.2 |  | 3
| roof projection - varandah | 1 | 13.9 | 0.9 |  | 12.51
326.127
Deduction
| Door D1 | 2 | 1 |  | 2.4 | 4.8
| D2 | 1 | 0.9 |  | 2.4 | 2.16
| FD | 2 | 0.8 |  | 2.4 | 3.84
| Window W4 | 1 | 2.5 |  | 1.65 | 4.125
| W2 | 1 | 1.65 |  | 1.65 | 2.7225
| V | 2 | 1 |  | 0.6 | 1.2
18.8475
| Less deduction |  |  |  |  | 307.2795
First floor
| Inside all round | 1 | 15.5 |  | 2.4 | 37.2 |  |  | 15.5
| Beams | 1 | 15.5 |  | 0.25 | 3.875
|  | 1 | 2.4 |  | 0.8 | 1.92 |  |  | 0.8
| Slab | 1 | 3.3 | 7.9 |  | 26.07
69.065
| Deduct D1 | 1 | 1 |  | 2.4 | 2.4
| Less deduction |  |  |  |  | 66.665
| Total |  |  |  |  | 373.9445 | 374 | m2
35 | out side painting
Ground floor
| Outside all round | 1 | 38.8 |  | 3.64 | 141.232 |  |  | 38.8 | 3.64
| Column | 5 | 1.1 |  | 3.04 | 16.72 |  |  | 3.04
| Verandah projection | 1 | 1.5 |  | 3.04 | 4.56
| roof projection - varandah | 2 | 15.4 | 1 |  | 30.8 |  |  | 15.4
| Roof projection - three side | 2 | 26.4 | 0.4 |  | 21.12 |  |  | 26.4
Sunshade
| W2 | 7 | 1.85 | 1.28 |  | 16.576 |  |  | 1.28
| V | 1 | 4.1 | 1.28 |  | 5.248
Drop
| Verandah | 1 | 13.9 | 1.95 |  | 27.105
| side | 1 | 1.5 | 1.95 |  | 2.925
First floor
| All round | 1 | 16.8 |  | 2.4 | 40.32 |  |  | 5.65 | 16.8
| Beam | 1 | 16.8 |  | 0.25 | 4.2
| Parapet varandah | 1 | 16.3 |  | 1.8 | 29.34
| Top | 1 | 4.6 |  | 1.4 | 6.44
|  | 1 | 8.8 |  | 1.4 | 12.32
358.906
Gate
Pillar
| Pillar-wicket | 2 | 3.2 | 3.65 |  | 23.36
| Pillar-main gate | 2 | 3.2 | 6.6 |  | 42.24
Beam
| For wicket gate | 4x2 | 3.1 |  | 0.25 | 6.2
| For main gate | 2x2 | 7.3 |  | 0.25 | 7.3
Slab
| For wicket gate | 2x2 | 3.1 | 2 |  | 24.8
| For main gate | 1x2 | 7.3 | 2 |  | 29.2
Drop
| For wicket gate | 2x2 | 3.1 | 0.85 |  | 10.54 |  |  | 0.85
| For main gate | 1x2 | 8.9 | 0.85 |  | 15.13
158.77
| Total |  |  |  |  | 517.676 | 518 | m2
36 | providing SS hand rails
| Stair | 1 | 4.31 |  |  | 4.31
|  | 1 | 1.71 |  |  | 1.71
[6 empty] | 6.02 | 6.1 | m
37 | providing wooden doorframes
| Door D1 | 2 | 6.8 | 0.1 | 0.075 | 0.102 |  |  | 6.8
| D2 | 1 | 5.7 | 0.1 | 0.075 | 0.04275 |  |  | 5.7
| F.F D1 | 1 | 6.8 | 0.1 | 0.075 | 0.051
| Total |  |  |  |  | 0.19575 | 0.2 | m3
38 | providing wooden door shutter
| Door D1 | 2 | 0.85 |  | 2.25 | 3.825 |  |  | 2.25 | 0.85
| D2 | 1 | 0.75 |  | 2.25 | 1.6875 |  |  | 0.75
| F.F D1 | 1 | 0.85 |  | 2.25 | 1.9125
| Total |  |  |  |  | 7.425 | 7.5 | m2
39 | Painting Deluxe Multi Surface Paint of required shade for doors
| Door D1 | 2 | (1x2.4x constant 2.25) |  |  | 10.8
| D2 | 1 | (0.9x2.4x constant 2.25) |  |  | 4.86
| F.F D1 | 1 | (1x2.4x constant 2.25) |  |  | 5.4
[6 empty] | 21.06 | 21.1 | m2
40 | Providing FRP doors for toilet & store | 2 | 0.8 |  | 2.4 | 3.84 | 3.85 | m2
41 | Providing and fixing aluminium sliding window
| W4 | 1 | 2.5 |  | 1.65 | 4.125
| W2 | 9 | 1.65 |  | 1.65 | 24.5025
[6 empty] | 28.6275 | 29 | m2
42 | Providing and fixing aluminium framed louvered ventilators
| V | 2 | 1 |  | 0.6 | 1.2 | 1.2 | m2
43 | Providing and fixing Aluminium framed partition
| Group B officer long side | 1 | 6 |  | 1.5 | 9
| cross | 1 | 3 |  | 1.5 | 4.5
13.5
| Deduct HD | 2 | 0.9 |  | 1.5 | 2.7
| Less deduction |  |  |  |  | 10.8 | 10.8 | m2
44 | Providing and fixing powder coated aluminium half doors
| HD | 2 | 0.9 |  | 0.75 | 1.35 | 1.4 | m2
45 | Providing and fixing 4mm tk. Aluminium composite panels of approved make
Office Building
Ground floor
| Two sides of bldg. | 2 | 5.5 |  | 3.64 | 40.04 |  |  | 3.64
| Column | 1 | 0.5 |  | 6.9 | 3.45 |  |  | 6.9
| Front drop | 1 | 13.9 |  | 1 | 13.9
|  | 1 | 1.5 |  | 1 | 1.5
58.89
| Deduct W2 | 4 | 1.65 |  | 1.65 | 10.89
| Less deduction |  |  |  |  | 48
First floor
| Front balcony | 1 | 2.4 |  | 2.4 | 5.76
| Two sides of bldg. | 2 | 5.65 |  | 2.4 | 27.12 |  |  | 5.65
| Parapet varandah | 1 | 16.3 |  | 0.8 | 13.04
| Top | 1 | 3.3 |  | 0.65 | 2.145
|  | 2 | 7.9 |  | 0.65 | 10.27
58.335
| Deduct D1 | 1 | 1 |  | 2.4 | 2.4
| Less deduction |  |  |  |  | 55.935
Gate
| Gate pillar wicket | 2 | 3.2 | 3.65 |  | 23.36
| Main | 2 | 3.2 | 6.6 |  | 42.24
| Drop wicket | 2x2 | 3.1 | 0.4 |  | 4.96
| Main | 1x2 | 8.9 | 0.4 |  | 7.12
| Slab wicket | 2 | 3.1 | 2 |  | 12.4
| main gate | 1 | 7.3 | 2 |  | 14.6
104.68
| Total |  |  |  |  | 208.615 | 209 | m2
46 | Trans porting surplus earth |  | Qty of item 5-6 |  |  | #VALUE! | 52.1 | m3
Water supply and Sanitory arrangements
47 | Supplying a& fixing 550x400mm size wash hand basin with trap, waste pipe etc. | 1 |  |  |  |  | 1 | Nos.
48 | Supplying and fixing European type white glazed earthen ware WC pan | 1 |  |  |  |  | 1 | No.
49 | Providing and fixing 600x450 mm beveled edge mirror of superior glass (of approved quality) | 1 |  |  |  |  | 1 | Nos.
50 | Providing and fixing 110mm OD class-2 PVC pipe for drainage
| Vertical | 1 | 3 |  |  | 3
| Horizontal | 1 | 10 |  |  | 10
| Total |  |  |  |  | 13 | 13 | m
51 | Providing and fixing 63mm OD class-2 PVC pipe for drainage
| Vertical | 1 | 2 |  |  | 2
| Horizontal | 1 | 10 |  |  | 10
| Total |  |  |  |  | 12 | 12 | m
52 | Providing and fixing floor trap | 2 |  |  |  | 2 | 2 | Nos
53 | Providing manhole 45x45x45cm | 1 |  |  |  | 1 | 1 | Nos
54 | Providing 10 users RCC sptic tank | 1 |  |  |  | 1 | 1 | No.
55 | Providing and fixing RC precast water tank of 3000 lit capacity | 1 |  |  |  | 1 | 1 | No.
56 | Providing and laying 25mm OD class-5 PVC pipe from water tank on walls | 1 | 25 |  |  | 25 | 25 | m
57 | Providing and laying 20mm OD class-5 PVC pipe on walls | 1 | 15 |  |  | 15 | 15 | m
58 | Providing GM full way valve 25mm dia. | 2 |  |  |  | 2 | 2 | No
59 | Providing and fixing 15mm CP angle cock | 2 |  |  |  | 2 | 3 | Nos
60 | Providing and fixing PVC connector | 2 |  |  |  |  | 2 | Nos
61 | Providing and fixing 15mm CP Long body tap | 1 |  |  |  | 1 | 1 | No
62 | Providing and fixing 1000lit PVC tank | 1 |  |  |  | 1 | 1 | Nos
63 | Providing cast iron gate 7.30mx3.50 | 1 | 400 |  |  | 400 | 400 | Kg
64 | Providing cast iron gate 1.50mx2m | 2 | 100 |  |  | 200 | 200 | Kg
| Levelling the area |  | 25 | 12 | 2.5
65 | Electrification
20.25
14
6.2
[9 empty] | 0.16 | 2.24
2.32
[10 empty] | 2.24 | 0.84
11.5

## Abstract (building)
COCHIN PORT TRUST
ABSTRACT COST ESTIMATE
Name of work: Construction of Gate Office at Puthuvypeen for CISF
Sl No: | Sub heads and items of work | Quantity | Rate RS Ps | Unit | Amount Rs | DSR 2013 | DSR + 46% | DSR Item | Page No.
1 | Boring through all strata (except soft and hard rock) upto (-)17m depth | 306 | 525 | m | 160650 |  | 0
2 | Providing and laying reinforced cement concrete of M40 grade inside the pile bore | 42 | 13800 | m3 | 579600 |  | 0
3 | Providing and placing in position Fe415/Fe500 grade reinforcement bars in cages inside pile | 6.5 | 90000 | T | 585000 |  | 0
4 | Chipping the concrete from the top of piles upto the cutoff level | 2.4 | 10000 | m3 | 24000 |  | 0 |  |  |  |  | 1325250
5 | Earthwork excavation in ordinary soil for foundation | 37.1527 | 213.9 | m3 | 7946.9732 | 146.5 | 213.89 | 2.6 | 72 |  |  | 2233585.3555
6 | Providing PCC M10 grade, below pile cap and grade beam | 5.4973 | 6176.5 | m3 | 33954.3823 | 4230.5 | 6176.53 | 4.1.6 | 85
7 | Providing and laying reinforced cement concrete of M40 grade for pilecap and foundation beam excluding reinforcement work | 19.431 | 14000 | m3 | 272034
8 | Providing and placing in position Fe415/Fe500 grade reinforcement bars | 6.2 | 92000 | T | 570400
9 | Providing cement concrete block in CM 1:6 for basement | 13.9 | 12273.6 | m3 | 170603.04 | 8406.55 | 12273.563 | 4.7.1 | 87
10 | Filling in basement with 6mm granite metal mixed with quarry dust including ramming | 29 | 2400 | m3 | 69600
11 | Providing RCC columns of M-30 grade | 18.65 | 9369 | m3 | 174731.85 | 6417.15 | 9369.039 | 5.33.2,5.34.1 | 101
12 | Centering and shuttering including strutting, propping etc. and removal of form for column | 146.3 | 617.6 | m2 | 90354.88 | 423 | 617.58 | 5.9.6 | 97
13 | Providing RCC beams of M-30 grade | 9.8 | 9369 | m3 | 91816.2 | 6417.15 | 9369.039 | 5.33.2,5.34.1 | 101
14 | Centering and shuttering including strutting, propping etc. and removal of form for beams and lintels | 81 | 452.3 | m2 | 36636.3 | 309.8 | 452.308 | 5.9.5 | 97
15 | Providing RCC roof slab/ floor slab/ landing slab of M30 grade | 18.5 | 9369 | m3 | 173326.5 | 6417.15 | 9369.039 | 5.33,5.34 | 101
16 | Centering and shuttering including strutting, propping etc. and removal of form for roof slab | 165 | 542.8 | m2 | 89562 | 371.8 | 542.828 | 5.9.3 | 97
17 | Providing RCC M30 for stair | 1.6 | 9369 | m3 | 14990.4 | 6417.15 | 9369.039 | 5.33,5.34 | 115
18 | Centering and shuttering including strutting, propping etc. and removal of form for stair | 14 | 548.5 | m2 | 7679 | 375.65 | 548.449 | 5.9.7 | 97
19 | Providing RCC M 30 grade for lintel | 1.5 | 9369 | m3 | 14053.5 | 6417.15 | 9369.039 | 5.33,5.34 | 115
20 | Centering and shuttering including strutting, propping etc. and removal of form for lintel | 15.5 | 452 | m2 | 7006 | 309.8 | 452.308 | 5.9.5 | 97
21 | Providing RCC M20 grade using 20mm metal for 50mm thick drops | 28.5 | 998.4 | m2 | 28454.4 | 683.8 | 998.348 | 5.18.1 | 99
22 | Providing M30 grade for sunshade | 0.8 | 9369 | m3 | 7495.2 | 6417.15 | 9369.039 | 5.33,5.34 | 101
23 | Centering and shuttering including strutting, propping etc. and removal of form for sunshade | 74 | 683.6 | m2 | 50586.4 | 468.2 | 683.572 | 5.9.19 | 97
24 | Providing reinforcement with mild steel / HYSD bars for RCC works | 7.1 | 97090 | T | 689339 | 66.5 | 97.09 | 5.22A.4 | 99
25 | Providing cement concrete block in CM 1:6 for superstructure | 27.3 | 12273.6 | m3 | 335069.28 | 8406.55 | 12273.563 | 4.7.1 | 87
26 | Providing C.C 1:4:8 with 40mm metal for bedding concrete for flooring | 8.2 | 5724.2 | m3 | 46938.44 | 3920.65 | 5724.149 | 4.1.8 | 85
27 | Providing and laying vitrified floor tiles 600 x 600mm size of approved make, in all colours and shades, laid on 20mm thick cement mortar 1:4 | 116.5 | 2047.7 | m2 | 238557.05 | 1402.55 | 2047.723 | 11.41.2 | 191
28 | Providng Antiskid ceramic tile flooring over CM 1:4,20mm thick | 3.7 | 1200.3 | m2 | 4441.11 | 822.1 | 1200.266 | 11.37 | 191
29 | Plastering the inside & outside walls in CM 1:4, 12 mm thick. | 421.3 | 212.3 | m2 | 89441.99 | 145.4 | 212.284 | 13.1.1 | 222
30 | Plastering the underside of slabs, sunshade etc. in CM 1:3, 6 mm thick | 423 | 175.7 | m2 | 74321.1 | 120.35 | 175.711 | 13.16.1 | 237
31 | Plastering with CM 1: 3, 12 mm thick mixed with WPC over roof slab | 195 | 1288.6 | m2 | 251277 | 882.6 | 1288.596 | 22.7.1 | 381
32 | Providing glazed tile Dadooing | 10.5 | 1158.7 | m2 | 12166.35 | 793.6 | 1158.656 | 11.36 | 189
33 | Providing skirting with vitrified tile 15cm ht | 16.4 | 1158.7 | m2 | 19002.68 | 793.6 | 1158.656 | 11.36 | 189
34 | Providing and applying acrylic emulsion two coats over a base coat for inside walls | 374 | 66.1 | m2 | 24721.4 | 45.25 | 66.065 | 13.42.1 | 225
35 | Providing and applying two finishing coats exterior emulsion paint over a base coat for outside walls/ MP tiles | 518 | 114 | m2 | 59052 | 78.1 | 114.026 | 13.46.1 | 225
36 | Providing and fixing stainless steel hand rails for stair with balusters | 6.1 | 4500 | m | 27450
37 | Providing second glass teak wood door frames | 0.2 | 132124 | m3 | 26424.8 | 90495.8 | 132123.868 | 9.1.1 | 147
38 | Providing 30mm tk. Second class teak wood door shutter | 9.12 | 3344 | m2 | 30497.28 | 2290.4 | 3343.984 | 9.5.1.2 | 147
39 | Painting Deluxe Multi Surface Paint of required shade for doors | 21.1 | 112 | m2 | 2363.2 | 76.65 | 111.909 | 13.48.2 | 226
40 | Providing FRP doors for toilet & store | 3.85 | 4800 | m2 | 18480
41 | Providing and fixing aluminium sliding window | 29 | 4200 | m2 | 121800
42 | Providing and fixing aluminium framed louvered ventilators | 1.2 | 4100 | m2 | 4920
43 | Providing and fixing Aluminium framed partition using powder coated aluminium section Nos. 9235, 9236 & 4660 (1.5 mm shell thickness), 12mm thick both side laminated particle boards of approved colour & 5mm etched glass with approved etching with verticles/ horizontals not more than 1.20 mc/c | 10.8 | 3120.4 | m2 | 33700.32 |  | Budgettory offer ce's office rearrangement
44 | Providing and fixing powder coated aluminium half doors with 12 mm thick both side laminated particle board & Al section of size 50x44.50 | 1.4 | 2250 | m2 | 3150 |  | Budgettory offer ce's office rearrangement
45 | Providing and fixing 4mm tk. Aluminium composite panels of approved make and colour for cladding | 209 | 4000 | m2 | 836000
Water supply and Sanitory arrangements
46 | Providing and fixing white glazed wash hand basin of 550x400mm size | 1 | 2482 | Each | 2482 | 1699.95 | 2481.927 | 17.7.4 | 288
47 | Providing and fixing white glazed European water closet with flushing arrangements | 1 | 4657 | Each | 4657 | 3189.75 | 4657.035 | 17.2 | 287
48 | Providing and fixing 600x450 mm beveled edge mirror of superior glass (of approved quality) | 1 | 1113 | Each | 1113 | 762.55 | 1113.323 | 17.31 | 291
49 | Providing and fixing 110mm OD class-2 PVC pipe for drainage | 13 | 362.7 | m | 4715.1 |  |  |  | 362.74
50 | Providing and fixing 63mm OD class-2 PVC pipe for drainage | 12 | 151.2 | m | 1814.4 |  |  |  | 151.2
51 | Providing and fixing floor trap | 2 | 470.6 | Each | 941.2 |  |  |  | 470.56 |  | 0.61333
52 | Providing manhole 45x45x45cm | 1 | 5390 | Each | 5390 | 5390
53 | Providing 25 users RCC sptic tank | 1 | 27000 | Each | 27000
54 | Providing and fixing RC precast water tank of 3000 lit capacity | 1 | 35000 | Each | 35000
55 | Providing and laying 25mm OD class-5 PVC pipe from water tank on walls | 25 | 108.9 | m | 2722.5
56 | Providing and laying 20mm OD class-5 PVC pipe on walls | 15 | 101.4 | m | 1521 |  | 101.44
57 | Providing GM full way valve 25mm dia. | 2 | 625 | Each | 1250 | 427.8 | 624.588 | 18.17 | 321
58 | Providing and fixing 15mm CP angle cock | 3 | 450 | Each | 1350 |  |  |  |  | 379.381
59 | Providing and fixing PVC connector | 2 | 119 |  | 238 |  | 119
60 | Providing and fixing 15mm CP Long nose bib cock | 1 | 1161 |  | 1161 | 795.2 | 1160.992 | 18.50.1 | 321 | 293.1
61 | Providing and fixing 1000lit PVC tank | 1 | 7000 |  | 7000
62 | Providing cast iron gate 7.30mx3.50 | 400 | 150 | Kg | 60000
63 | Providing cast iron gate 1.50mx2m | 200 | 150 | Kg | 30000 | 6397949.2255
64 | Electrification |  |  |  | 550000
| Total |  |  |  | 6947949.2255
| Contingencies @3% |  |  |  | 208438.4768
| Grand Total |  |  |  | 7156387.7023
Say Rs. crores
CHIEF ENGINEER